## Sheet1
JACK | closet | room | PATCH PANEL ROW | SWITCH | PORT | NOTES | Closet | LenPortNbr 3x 48p 10GB | Verify | f3 update
A710590EUPSB1-D | A71-BB | A710590EUPS | NA | 1 | 1 |  | BB | A71BB-M01P-00-01/A710590EUPSB1-D | Fully Created | Created Port | Updated Menet | Audit duplicate ports 3/0/25, 1/0/26, 3/0/26, 3/0/28
A710560AA-D | A71-BB | A710560 | 1 | 2 | 1 |  | BB | A71BB-M02P-00-01/A710560AA-D | Fully Created | Created Port | Updated Menet
A710630B1-D | A71-BB | A710630 | 1 | 3 | 1 |  | BB | A71BB-M03P-00-01/A710630B1-D | need UserI | none found with no end date | None Found | Audit jack lables for ports 3/0/15, 2/0/16, 1/0/17, 3/0/23, 2/0/25, 2/0/27, 1/0/29, 1/0/31, 3/0/31
A710630BB1-D | A71-BB | A710630B | 1 | 1 | 2 |  | BB | A71BB-M01P-00-02/A710630BB1-D | need UserI | none found with no end date | None Found
A710645B1-D | A71-BB | A710645 | 1 | 2 | 2 |  | BB | A71BB-M02P-00-02/A710645B1-D | need UserI | none found with no end date | None Found
A710630B2-D | A71-BB | A710630 | 1 | 3 | 2 |  | BB | A71BB-M03P-00-02/A710630B2-D | Fully Created | Created Port | Updated Menet
A710565B1-D | A71-BB | A710565 | 1 | 1 | 3 |  | BB | A71BB-M01P-00-03/A710565B1-D | Fully Created | Created Port | Updated Menet
A710362B1-D | A71-BB | A710362 | 1 | 2 | 3 |  | BB | A71BB-M02P-00-03/A710362B1-D | Fully Created | Created Port | Updated Menet
A710630B3-D | A71-BB | A710630 | 1 | 3 | 3 |  | BB | A71BB-M03P-00-03/A710630B3-D | Fully Created | Created Port | Updated Menet
A710538B1-D | A71-BB | A710538 | 1 | 1 | 4 |  | BB | A71BB-M01P-00-04/A710538B1-D | Nothing created | none found with no end date | None Found
A710565B3-D | A71-BB | A710565 | 1 | 2 | 4 |  | BB | A71BB-M02P-00-04/A710565B3-D | need UserI | none found with no end date | None Found
A710390B1-D | A71-BB | A710390 | 1 | 3 | 4 |  | BB | A71BB-M03P-00-04/A710390B1-D | Fully Created | Created Port | Updated Menet
A710630B4-D | A71-BB | A710630 | 1 | 1 | 5 |  | BB | A71BB-M01P-00-05/A710630B4-D | Fully Created | Created Port | Updated Menet
A710390B2-D | A71-BB | A710390 | 1 | 2 | 5 |  | BB | A71BB-M02P-00-05/A710390B2-D | need UserI | none found with no end date | None Found
A710530B5-D | A71-BB | A710530 | 1 | 3 | 5 |  | BB | A71BB-M03P-00-05/A710530B5-D | Nothing created | none found with no end date | None Found
A710530BB1-D | A71-BB | A710530B | 1 | 1 | 6 |  | BB | A71BB-M01P-00-06/A710530BB1-D | Fully Created | Created Port | Updated Menet
A710630B6-D | A71-BB | A710630 | 1 | 2 | 6 |  | BB | A71BB-M02P-00-06/A710630B6-D | Fully Created | Created Port | Updated Menet
A710530BB2-D | A71-BB | A710530B | 1 | 3 | 6 |  | BB | A71BB-M03P-00-06/A710530BB2-D | need UserI | none found with no end date | None Found
A710630B7-D | A71-BB | A710630 | 1 | 1 | 7 |  | BB | A71BB-M01P-00-07/A710630B7-D | Fully Created | Created Port | Updated Menet
A710560B1-D | A71-BB | A710560 | 1 | 2 | 7 |  | BB | A71BB-M02P-00-07/A710560B1-D | Fully Created | Created Port | Updated Menet
A710560B2-D | A71-BB | A710560 | 1 | 3 | 7 |  | BB | A71BB-M03P-00-07/A710560B2-D | need UserI | none found with no end date | None Found
A711530AA-D | A71-BB | A711530 | 2 | 1 | 8 |  | BB | A71BB-M01P-00-08/A711530AA-D | Fully Created | Created Port | Updated Menet
A711560AA-D | A71-BB | A711560 | 2 | 2 | 8 |  | BB | A71BB-M02P-00-08/A711560AA-D | Fully Created | Created Port | Updated Menet
A711560AB-D | A71-BB | A711560 | 2 | 3 | 8 |  | BB | A71BB-M03P-00-08/A711560AB-D | need UserI | none found with no end date | None Found
A711560AC-D | A71-BB | A711560 | 2 | 1 | 9 |  | BB | A71BB-M01P-00-09/A711560AC-D | need UserI | none found with no end date | None Found
A711560AD-D | A71-BB | A711560 | 2 | 2 | 9 |  | BB | A71BB-M02P-00-09/A711560AD-D | Fully Created | Created Port | Updated Menet
A711560AE-D | A71-BB | A711560 | 2 | 3 | 9 |  | BB | A71BB-M03P-00-09/A711560AE-D | Fully Created | Created Port | Updated Menet
A711560AF-D | A71-BB | A711560 | 2 | 1 | 10 |  | BB | A71BB-M01P-00-10/A711560AF-D | Fully Created | none found with no end date | None Found
A711560AG-D | A71-BB | A711560 | 2 | 2 | 10 |  | BB | A71BB-M02P-00-10/A711560AG-D | Fully Created | Created Port | Updated Menet
A711560AAA-D | A71-BB | A711560A | 2 | 3 | 10 |  | BB | A71BB-M03P-00-10/A711560AAA-D | Fully Created | Created Port | Updated Menet
A711560BAA-D | A71-BB | A711560B | 2 | 1 | 11 |  | BB | A71BB-M01P-00-11/A711560BAA-D | Fully Created | Created Port | Updated Menet
A711560CAA-D | A71-BB | A711560C | 2 | 2 | 11 |  | BB | A71BB-M02P-00-11/A711560CAA-D | Fully Created | Created Port | Updated Menet
A711560DAA-D | A71-BB | A711560D | 2 | 3 | 11 |  | BB | A71BB-M03P-00-11/A711560DAA-D | Fully Created | Created Port | Updated Menet
A711560EAA-D | A71-BB | A711560E | 2 | 1 | 12 |  | BB | A71BB-M01P-00-12/A711560EAA-D | Fully Created | none found with no end date | None Found
A711560GAA-D | A71-BB | A711560G | 2 | 2 | 12 |  | BB | A71BB-M02P-00-12/A711560GAA-D | Fully Created | Created Port | Updated Menet
A711560HAA-D | A71-BB | A711560H | 2 | 3 | 12 |  | BB | A71BB-M03P-00-12/A711560HAA-D | Fully Created | Created Port | Updated Menet
A711560JAA-D | A71-BB | A711560J | 2 | 1 | 13 |  | BB | A71BB-M01P-00-13/A711560JAA-D | Fully Created | Created Port | Updated Menet
A711560KAA-D | A71-BB | A711560K | 2 | 2 | 13 |  | BB | A71BB-M02P-00-13/A711560KAA-D | Fully Created | Created Port | Updated Menet
A711560LAA-D | A71-BB | A711560L | 2 | 3 | 13 |  | BB | A71BB-M03P-00-13/A711560LAA-D | Fully Created | Created Port | Updated Menet
A711560MAA-D | A71-BB | A711560M | 2 | 1 | 14 |  | BB | A71BB-M01P-00-14/A711560MAA-D | Fully Created | Do not update | None Found
A711560NAA-D | A71-BB | A711560N | 2 | 2 | 14 |  | BB | A71BB-M02P-00-14/A711560NAA-D | need UserI | none found with no end date | None Found
A711560PAA-D | A71-BB | A711560P | 2 | 3 | 14 |  | BB | A71BB-M03P-00-14/A711560PAA-D | Fully Created | Created Port | Updated Menet
A711560QAA-D | A71-BB | A711560Q | 2 | 1 | 15 |  | BB | A71BB-M01P-00-15/A711560QAA-D | Fully Created | Created Port | Updated Menet
A711560QAAB-D | A71-BB | A711560QA | 2 | 2 | 15 |  | BB | A71BB-M02P-00-15/A711560QAAB-D | Fully Created | Created Port | Updated Menet
A711560QAB1 | A71-BB | A711560 | 2 | 3 | 15 |  | BB | A71BB-M03P-00-15/A711560QAB1 | need UserI | none found with no end date | None Found
A711560QAAA-D | A71-BB | A711560QA | 3 | 1 | 16 |  | BB | A71BB-M01P-00-16/A711560QAAA-D | Fully Created | Created Port | Updated Menet
A711580NAA | A71-BB | A71158 | 3 | 2 | 16 |  | BB | A71BB-M02P-00-16/A711580NAA | need UserI | none found with no end date | None Found | WAS NOT PATCHED IN
A711568CB1-D | A71-BB | A711568C | 3 | 3 | 16 |  | BB | A71BB-M03P-00-16/A711568CB1-D | Fully Created | none found with no end date | None Found
A711580AA-D | A71-BB | A711580 | 3 | 1 | 17 |  | BB | A71BB-M01P-00-17/A711580AA-D | Nothing created | none found with no end date | None Found
A711580AB-D | A71-BB | A711580 | 3 | 2 | 17 |  | BB | A71BB-M02P-00-17/A711580AB-D | Fully Created | none found with no end date | None Found
A711580AC-D | A71-BB | A711580 | 3 | 3 | 17 |  | BB | A71BB-M03P-00-17/A711580AC-D | need UserI | none found with no end date | None Found
A711580AD-D | A71-BB | A711580 | 3 | 1 | 18 |  | BB | A71BB-M01P-00-18/A711580AD-D | Fully Created | Created Port | Updated Menet
A711580AE-D | A71-BB | A711580 | 3 | 2 | 18 |  | BB | A71BB-M02P-00-18/A711580AE-D | Fully Created | Created Port | Updated Menet
A711580AAA-D | A71-BB | A711580A | 3 | 3 | 18 |  | BB | A71BB-M03P-00-18/A711580AAA-D | Fully Created | none found with no end date | None Found
A711580BAA-D | A71-BB | A711580B | 3 | 1 | 19 |  | BB | A71BB-M01P-00-19/A711580BAA-D | Fully Created | Do not update | None Found
A711580CAA-D | A71-BB | A711580C | 3 | 2 | 19 |  | BB | A71BB-M02P-00-19/A711580CAA-D | need UserI | none found with no end date | None Found
A711580DAA-D | A71-BB | A711580D | 3 | 3 | 19 |  | BB | A71BB-M03P-00-19/A711580DAA-D | Fully Created | none found with no end date | None Found
A711580EAA-D | A71-BB | A711580E | 3 | 1 | 20 |  | BB | A71BB-M01P-00-20/A711580EAA-D | Fully Created | Created Port | Updated Menet
A711580FAA-D | A71-BB | A711580F | 3 | 2 | 20 |  | BB | A71BB-M02P-00-20/A711580FAA-D | Fully Created | Created Port | Updated Menet
A711580GAA-D | A71-BB | A711580G | 3 | 3 | 20 |  | BB | A71BB-M03P-00-20/A711580GAA-D | need UserI | none found with no end date | None Found
A711580HAA-D | A71-BB | A711580H | 3 | 1 | 21 |  | BB | A71BB-M01P-00-21/A711580HAA-D | need UserI | Manual update needed | None Found
A711580JAAA-D | A71-BB | A711580JA | 3 | 2 | 21 |  | BB | A71BB-M02P-00-21/A711580JAAA-D | Fully Created | Created Port | Updated Menet
A711580JCAA-D | A71-BB | A711580JC | 3 | 3 | 21 |  | BB | A71BB-M03P-00-21/A711580JCAA-D | Fully Created | Created Port | Updated Menet
A711580LAA-D | A71-BB | A711580L | 3 | 1 | 22 |  | BB | A71BB-M01P-00-22/A711580LAA-D | Nothing created | none found with no end date | None Found | A711580JCAB-D was
A711580JCAB-D | A71-BB | A711580JC | 4 | 2 | 22 |  | BB | A71BB-M02P-00-22/A711580JCAB-D | need UserI | none found with no end date | None Found | A711510B2-D was
A711510B2-D | A71-BB | A711510 | 4 | 3 | 22 |  | BB | A71BB-M03P-00-22/A711510B2-D | need UserI | none found with no end date | None Found | A711560HB1-D was
A711560HB1-D | A71-BB | A711560H | 4 | 1 | 23 |  | BB | A71BB-M01P-00-23/A711560HB1-D | Fully Created | Created Port | Updated Menet | A711560B1-D was
A711560B1-D | A71-BB | A711560 | 4 | 2 | 23 |  | BB | A71BB-M02P-00-23/A711560B1-D | Fully Created | Created Port | Updated Menet | A711560HB2-D was
A711560HB2-D | A71-BB | A711560H | 4 | 3 | 23 |  | BB | A71BB-M03P-00-23/A711560HB2-D | need UserI | none found with no end date | None Found | A711568B1-D was
A711560NB1-D | A71-BB | A711560N | 4 | 1 | 24 |  | BB | A71BB-M01P-00-24/A711560NB1-D | Fully Created | Created Port | Updated Menet
A711580JAB-D | A71-BB | A711580J | 4 | 2 | 24 |  | BB | A71BB-M02P-00-24/A711580JAB-D | Fully Created | Created Port | Updated Menet
A711580AF-D | A71-BB | A711580 | 4 | 3 | 24 |  | BB | A71BB-M03P-00-24/A711580AF-D | Nothing created | none found with no end date | None Found
A711560nb2 | A71-BB | A71156 | 4 | 1 | 25 |  | BB | A71BB-M01P-00-25/A711560nb2 | need UserI | none found with no end date | None Found
|  |  | 4 | 2 | 25 |  | BB | BB-M02P-00-25/ | One or more field empty | One or more field empty | None Found
A711568B4-D | A71-BB | A711568 | 4 | 3 | 25 |  | BB | BB-M03P-00-25/ | need UserI | none found with no end date | None Found | was: A711560B2-D
A711560B5 | A71-BB | A7115 | 4 | 1 | 26 | Changed to b5, BR | BB | BB-M01P-00-26/ | Nothing created | none found with no end date | None Found | was: A711580B1-D | JACK ID DUPLICATES (same on patch panel and cable)
A711580B6 | A71-BB | A7115 | 4 | 2 | 26 | Is with b2 wap, BR | BB | A71BB-M02P-00-26/A711580B6 | Manual Check needed | Phone | None Found | was: A711580B2-D | JACK ID DUPLICATES (same on patch panel and cable)
A711580B2-D | A71-BB | A711580 | 4 | 3 | 26 |  | BB | BB-M03P-00-26/ | need UserI | none found with no end date | None Found | was: A711580B1-D
A711580B1-D | A71-BB | A711580 | 4 | 1 | 27 |  | BB | A71BB-M01P-00-27/A711580B1-D | Fully Created | Created Port | Updated Menet | was: A711580B3-D | JACK ID DUPLICATES (same on patch panel and cable)
A711580B3-D | A71-BB | A711580 | 4 | 2 | 27 | Prime shows AP on this port | BB | A71BB-M02P-00-27/A711580B3-D | Fully Created | Created Port | Updated Menet
|  |  | 4 | 3 | 27 |  | BB | BB-M03P-00-27/ | One or more field empty | One or more field empty | None Found
A711580B4-D | A71-BB | A711580 | 4 | 1 | 28 |  | BB | A71BB-M01P-00-28/A711580B4-D | need UserI | none found with no end date | None Found | was: A711580B5-D
A711580B5-D | A71-BB | A711580 | 4 | 2 | 28 |  | BB | A71BB-M02P-00-28/A711580B5-D | Fully Created | none found with no end date | None Found | was: A711580JB1-D
A711580JB1-D | A71-BB | A711580J | 5 | 3 | 28 |  | BB | A71BB-M03P-00-28/A711580JB1-D | Fully Created | Created Port | Updated Menet | was: A711560B2-D
A711560B2-D | A71-BB | A711560 | 5 | 1 | 29 |  | BB | A71BB-M01P-00-29/A711560B2-D | Fully Created | Created Port | Updated Menet | was: A7115? | JACK ID DUPLICATES (same on patch panel and cable)
A711563B2-D | A71-BB | A711563 | 5 | 2 | 29 |  | BB | A71BB-M02P-00-29/A711563B2-D | Nothing created | none found with no end date | None Found | was: A712350AB1-D
A712350AB1-D | A71-BB | A712350A | 5 | 3 | 29 |  | BB | wasBB-M03P-00-29/A712350AB1-D | need UserI | none found with no end date | None Found | was: A712520AA-D
A712520AA-D | A71-BB | A712520 | 5 | 1 | 30 |  | BB | wasBB-M01P-00-30/A712520AA-D | Fully Created | Do not update | None Found | was: A712532AA-D
A712532AA-D | A71-BB | A712532 | 5 | 2 | 30 |  | BB | wasBB-M02P-00-30/A712532AA-D | Fully Created | Created Port | Updated Menet | was: A712540AA-D
A712540AA-D | A71-BB | A712540 | 5 | 3 | 30 |  | BB | wasBB-M03P-00-30/A712540AA-D | Fully Created | Created Port | Updated Menet | was: A712540AB1-D
A712540AB1-D | A71-BB | A712540A | 5 | 1 | 31 |  | BB | BB-M01P-00-31/A712540AB1-D | Fully Created | none found with no end date | None Found
A712650AB1-D | A71-BB | A712650A | 5 | 2 | 31 |  | BB | wasBB-M02P-00-31/A712650AB1-D | Nothing created | none found with no end date | None Found | was: A712540B1-D
A712540B1-D | A71-BB | A712540 | 5 | 3 | 31 |  | BB | BB-M03P-00-31/A712540B1-D | Fully Created | Created Port | Updated Menet
A712540B2-D | A71-BB | A712540 | 5 | 1 | 32 |  | BB | A71BB-M01P-00-32/A712540B2-D | need UserI | none found with no end date | None Found
A712545B1-D | A71-BB | A712545 | 5 | 2 | 32 |  | BB | A71BB-M02P-00-32/A712545B1-D | Fully Created | Created Port | Updated Menet
A711540B3-D | A71-BB | A711540 | 5 | 3 | 32 |  | BB | A71BB-M03P-00-32/A711540B3-D | Nothing created | none found with no end date | None Found
A711510B4-D | A71-BB | A711510 | 5 | 1 | 33 |  | BB | A71BB-M01P-00-33/A711510B4-D | Fully Created | Created Port | Updated Menet
A712540B4-D | A71-BB | A712540 | 5 | 2 | 33 |  | BB | A71BB-M02P-00-33/A712540B4-D | need UserI | none found with no end date | None Found
A715440B5-D | A71-BB | A715440 | 5 | 3 | 33 |  | BB | A71BB-M03P-00-33/A715440B5-D | Nothing created | none found with no end date | None Found
A712540B6-D | A71-BB | A712540 | 5 | 1 | 34 |  | BB | A71BB-M01P-00-34/A712540B6-D | need UserI | none found with no end date | None Found
A712550B2-D | A71-BB | A712550 | 5 | 2 | 34 |  | BB | A71BB-M02P-00-34/A712550B2-D | Fully Created | Created Port | Updated Menet
A712550B3-D | A71-BB | A712550 | 5 | 3 | 34 |  | BB | A71BB-M03P-00-34/A712550B3-D | need UserI | none found with no end date | None Found
A712540AB2-D | A71-BB | A712540A | 5 | 1 | 35 |  | BB | A71BB-M01P-00-35/A712540AB2-D | Fully Created | Created Port | Updated Menet
A713560AA-D | A71-BB | A713560 | 5 | 2 | 35 |  | BB | A71BB-M02P-00-35/A713560AA-D | Fully Created | Created Port | Updated Menet
A711560AE-VD | A71-BB | A711560 | NA | 3 | 35 |  | BB | A71BB-M03P-00-35/A711560AE-VD | Fully Created | Created Port | Updated Menet
A711560AG-VD | A71-BB | A711560 | NA | 1 | 36 |  | BB | A71BB-M01P-00-36/A711560AG-VD | Fully Created | Created Port | Updated Menet
A711560AAA-VD | A71-BB | A711560A | NA | 2 | 36 |  | BB | A71BB-M02P-00-36/A711560AAA-VD | Nothing created | none found with no end date | None Found
A711580C2-VD | A71-BB | A711580 | NA | 3 | 36 |  | BB | A71BB-M03P-00-36/A711580C2-VD | Fully Created | Created Port | Updated Menet
A711580HAA-VD | A71-BB | A711580H | NA | 1 | 37 |  | BB | A71BB-X01P-00-37/A711580HAA-VD | Fully Created | Created Port | Updated Xenet
A711568B5-D | A71-BB | A711568 | NA | 1 | 38 |  | BB | A71BB-X01P-00-38/A711568B5-D | need UserI | none found with no end date | None Found
A710550B1-D | A71-BB | A710550 | NA | 2 | 38 |  | BB | A71BB-X02P-00-38/A710550B1-D | Fully Created | Created Port | Updated Xenet
[9 empty] | One or more field empty | One or more field empty | One or more field empty
[9 empty] | One or more field empty | One or more field empty | One or more field empty