## Sheet1
JACK | room | closet | PATCH PANEL ROW | SWITCH | PORT | LYLE | Closet | LenPortNbr 5x 48p 10GB | verify | update notes
B500183AUPSB1-D | B500183AUPS | B50-BA | NA | 1 | 1 |  | BA | B50BA-M01P-00-01/B500183AUPSB1-D | Fully Created | Updated | Updated Menet | 23-Mar Audited jack lable for port 4/0/41
B500101AA-D | B500101 | B50-BA | 1 | 2 | 1 |  | BA | B50BA-M02P-00-01/B500101AA-D | need UserI | none found with no end date | None Found
B500101AB-D | B500101 | B50-BA | 1 | 3 | 1 |  | BA | B50BA-M03P-00-01/B500101AB-D | Fully Created | Updated | Updated Menet
B500101AC-D | B500101 | B50-BA | 1 | 4 | 1 |  | BA | B50BA-M04P-00-01/B500101AC-D | need UserI | none found with no end date | None Found
B500102AA-D | B500102 | B50-BA | 1 | 5 | 1 |  | BA | B50BA-M05P-00-01/B500102AA-D | Fully Created | Updated | Updated Menet
B500111AA-D | B500111 | B50-BA | 1 | 1 | 2 |  | BA | B50BA-M01P-00-02/B500111AA-D | Fully Created | Updated | Updated Menet
B500112AA-D | B500112 | B50-BA | 1 | 2 | 2 |  | BA | B50BA-M02P-00-02/B500112AA-D | Fully Created | Updated | Updated Menet
B500112AB-D | B500112 | B50-BA | 1 | 3 | 2 |  | BA | B50BA-M03P-00-02/B500112AB-D | Fully Created | none found with no end date | None Found
B500112AC-D | B500112 | B50-BA | 1 | 4 | 2 |  | BA | B50BA-M04P-00-02/B500112AC-D | Fully Created | none found with no end date | None Found
B500112AD-D | B500112 | B50-BA | 1 | 5 | 2 |  | BA | B50BA-M05P-00-02/B500112AD-D | Fully Created | Updated | Updated Menet
B500112AE-D | B500112 | B50-BA | 1 | 1 | 3 |  | BA | B50BA-M01P-00-03/B500112AE-D | need UserI | none found with no end date | None Found
B500112AF-D | B500112 | B50-BA | 1 | 2 | 3 |  | BA | B50BA-M02P-00-03/B500112AF-D | Fully Created | Updated | Updated Menet
B500112AG-D | B500112 | B50-BA | 1 | 3 | 3 |  | BA | B50BA-M03P-00-03/B500112AG-D | Fully Created | Updated | Updated Menet
B500112AH-D | B500112 | B50-BA | 1 | 4 | 3 |  | BA | B50BA-M04P-00-03/B500112AH-D | Fully Created | Updated | Updated Menet
B500112AI-D | B500112 | B50-BA | 1 | 5 | 3 |  | BA | B50BA-M05P-00-03/B500112AI-D | Fully Created | none found with no end date | None Found
B500112AJ-D | B500112 | B50-BA | 1 | 1 | 4 |  | BA | B50BA-M01P-00-04/B500112AJ-D | Fully Created | Updated | Updated Menet
B500112AK-D | B500112 | B50-BA | 1 | 2 | 4 |  | BA | B50BA-M02P-00-04/B500112AK-D | Fully Created | none found with no end date | None Found
B500112AL-D | B500112 | B50-BA | 1 | 3 | 4 |  | BA | B50BA-M03P-00-04/B500112AL-D | Fully Created | none found with no end date | Updated Menet
B500113AA-D | B500113 | B50-BA | 1 | 4 | 4 |  | BA | B50BA-M04P-00-04/B500113AA-D | need UserI | none found with no end date | None Found
B500113AB-D | B500113 | B50-BA | 1 | 5 | 4 |  | BA | B50BA-M05P-00-04/B500113AB-D | Fully Created | Updated | Updated Menet
B500113AC-D | B500113 | B50-BA | 1 | 1 | 5 |  | BA | B50BA-M01P-00-05/B500113AC-D | Fully Created | Updated | Updated Menet
B500113AD-D | B500113 | B50-BA | 1 | 2 | 5 |  | BA | B50BA-M02P-00-05/B500113AD-D | Fully Created | Updated | Updated Menet
B500113AE-D | B500113 | B50-BA | 1 | 3 | 5 |  | BA | B50BA-M03P-00-05/B500113AE-D | need UserI | none found with no end date | None Found
B500119AB-D | B500119 | B50-BA | 1 | 4 | 5 | VLAN 57 | BA | B50BA-M04P-00-05/B500119AB-D | Fully Created | Updated | Updated Menet
B500119AC-D | B500119 | B50-BA | 1 | 5 | 5 |  | BA | B50BA-M05P-00-05/B500119AC-D | Fully Created | Updated | Updated Menet
B500119AA-D | B500119 | B50-BA | 2 | 1 | 6 |  | BA | B50BA-M01P-00-06/B500119AA-D | Fully Created | Updated | Updated Menet
B500113AI-D | B500113 | B50-BA | 2 | 2 | 6 |  | BA | B50BA-M02P-00-06/B500113AI-D | Fully Created | Updated | Updated Menet
B500113AJ-D | B500113 | B50-BA | 2 | 3 | 6 |  | BA | B50BA-M03P-00-06/B500113AJ-D | need UserI | none found with no end date | None Found
B500113AK-D | B500113 | B50-BA | 2 | 4 | 6 |  | BA | B50BA-M04P-00-06/B500113AK-D | need UserI | none found with no end date | None Found
B500122AA-D | B500122 | B50-BA | 2 | 5 | 6 |  | BA | B50BA-M05P-00-06/B500122AA-D | Fully Created | Updated | Updated Menet
B500122AB-D | B500122 | B50-BA | 2 | 1 | 7 |  | BA | B50BA-M01P-00-07/B500122AB-D | Fully Created | Updated | Updated Menet
B500122AC-D | B500122 | B50-BA | 2 | 2 | 7 |  | BA | B50BA-M02P-00-07/B500122AC-D | Fully Created | Updated | Updated Menet
B500122AD-D | B500122 | B50-BA | 2 | 3 | 7 |  | BA | B50BA-M03P-00-07/B500122AD-D | Fully Created | Updated | Updated Menet
B500122AE-D | B500122 | B50-BA | 2 | 4 | 7 |  | BA | B50BA-M04P-00-07/B500122AE-D | Fully Created | Updated | Updated Menet
B500122AF-D | B500122 | B50-BA | 2 | 5 | 7 |  | BA | B50BA-M05P-00-07/B500122AF-D | Fully Created | Updated | Updated Menet
B500122AG-D | B500122 | B50-BA | 2 | 1 | 8 |  | BA | B50BA-M01P-00-08/B500122AG-D | Fully Created | Updated | Updated Menet
B500122AH-D | B500122 | B50-BA | 2 | 2 | 8 |  | BA | B50BA-M02P-00-08/B500122AH-D | Fully Created | Updated | Updated Menet
B500122AI-D | B500122 | B50-BA | 2 | 3 | 8 |  | BA | B50BA-M03P-00-08/B500122AI-D | Fully Created | Updated | Updated Menet
B500122AJ-D | B500122 | B50-BA | 2 | 4 | 8 |  | BA | B50BA-M04P-00-08/B500122AJ-D | Fully Created | Updated | Updated Menet
B5000122AK-D | B5000122 | B50-BA | 2 | 5 | 8 |  | BA | B50BA-M05P-00-08/B5000122AK-D | Nothing created | none found with no end date | None Found
B500122AL-D | B500122 | B50-BA | 2 | 1 | 9 |  | BA | B50BA-M01P-00-09/B500122AL-D | Fully Created | Updated | Updated Menet
B500122AM-D | B500122 | B50-BA | 2 | 2 | 9 |  | BA | B50BA-M02P-00-09/B500122AM-D | Fully Created | Updated | Updated Menet
B500122AN-D | B500122 | B50-BA | 2 | 3 | 9 |  | BA | B50BA-M03P-00-09/B500122AN-D | Fully Created | Updated | Updated Menet
B503010AA-D | B503010 | B50-BA | 2 | 4 | 9 |  | BA | B50BA-M04P-00-09/B503010AA-D | Nothing created | Manual update needed | None Found
B501010AAA-D | B501010A | B50-BA | 2 | 5 | 9 |  | BA | B50BA-M05P-00-09/B501010AAA-D | Fully Created | Updated | Updated Menet
B501010BAA-D | B501010B | B50-BA | 2 | 1 | 10 |  | BA | B50BA-M01P-00-10/B501010BAA-D | Fully Created | Updated | Updated Menet
B501010CAA-D | B501010C | B50-BA | 2 | 2 | 10 |  | BA | B50BA-M02P-00-10/B501010CAA-D | Fully Created | Updated | Updated Menet
B501010DAA-D | B501010D | B50-BA | 2 | 3 | 10 |  | BA | B50BA-M03P-00-10/B501010DAA-D | Fully Created | Updated | Updated Menet
B501010EAA-D | B501010E | B50-BA | 2 | 4 | 10 |  | BA | B50BA-M04P-00-10/B501010EAA-D | Fully Created | Updated | Updated Menet
B501010EAB-D | B501010E | B50-BA | 3 | 5 | 10 |  | BA | B50BA-M05P-00-10/B501010EAB-D | need UserI | none found with no end date | None Found
B501010EAC-D | B501010E | B50-BA | 3 | 1 | 11 |  | BA | B50BA-M01P-00-11/B501010EAC-D | need UserI | none found with no end date | None Found
B501010FAA-D | B501010F | B50-BA | 3 | 2 | 11 |  | BA | B50BA-M02P-00-11/B501010FAA-D | need UserI | none found with no end date | None Found
B501010FAB-D | B501010F | B50-BA | 3 | 3 | 11 |  | BA | B50BA-M03P-00-11/B501010FAB-D | Fully Created | Updated | Updated Menet
B501010FAC-D | B501010F | B50-BA | 3 | 4 | 11 |  | BA | B50BA-M04P-00-11/B501010FAC-D | need UserI | none found with no end date | None Found
B501010GAA-D | B501010G | B50-BA | 3 | 5 | 11 |  | BA | B50BA-M05P-00-11/B501010GAA-D | Fully Created | Updated | Updated Menet
B501010GAB-D | B501010G | B50-BA | 3 | 1 | 12 |  | BA | B50BA-M01P-00-12/B501010GAB-D | need UserI | none found with no end date | None Found
B501010HAA-D | B501010H | B50-BA | 3 | 2 | 12 |  | BA | B50BA-M02P-00-12/B501010HAA-D | Fully Created | Updated | Updated Menet
B501010HAB-D | B501010H | B50-BA | 3 | 3 | 12 |  | BA | B50BA-M03P-00-12/B501010HAB-D | need UserI | none found with no end date | None Found
B501010HAC-D | B501010H | B50-BA | 3 | 4 | 12 |  | BA | B50BA-M04P-00-12/B501010HAC-D | need UserI | none found with no end date | None Found
B501010JAA-D | B501010J | B50-BA | 3 | 5 | 12 |  | BA | B50BA-M05P-00-12/B501010JAA-D | Fully Created | Updated | Updated Menet
B501010KAA-D | B501010K | B50-BA | 3 | 1 | 13 |  | BA | B50BA-M01P-00-13/B501010KAA-D | need UserI | none found with no end date | None Found
B501010LAA-D | B501010L | B50-BA | 3 | 2 | 13 |  | BA | B50BA-M02P-00-13/B501010LAA-D | Fully Created | Updated | Updated Menet
B501010LAB-D | B501010L | B50-BA | 3 | 3 | 13 |  | BA | B50BA-M03P-00-13/B501010LAB-D | Fully Created | Updated | Updated Menet
B501010LAC-D | B501010L | B50-BA | 3 | 4 | 13 |  | BA | B50BA-M04P-00-13/B501010LAC-D | Fully Created | Updated | Updated Menet
B501010LAD-D | B501010L | B50-BA | 3 | 5 | 13 |  | BA | B50BA-M05P-00-13/B501010LAD-D | Fully Created | Updated | Updated Menet
B501032AA-D | B501032 | B50-BA | 3 | 1 | 14 |  | BA | B50BA-M01P-00-14/B501032AA-D | Fully Created | Updated | Updated Menet
B501032AB-D | B501032 | B50-BA | 3 | 2 | 14 |  | BA | B50BA-M02P-00-14/B501032AB-D | Fully Created | Do not update | None Found
B501032AC-D | B501032 | B50-BA | 3 | 3 | 14 |  | BA | B50BA-M03P-00-14/B501032AC-D | Fully Created | Do not update | None Found
B501034AA-D | B501034 | B50-BA | 3 | 4 | 14 |  | BA | B50BA-M04P-00-14/B501034AA-D | Fully Created | Updated | Updated Menet
B501036AA-D | B501036 | B50-BA | 3 | 5 | 14 |  | BA | B50BA-M05P-00-14/B501036AA-D | Fully Created | Updated | Updated Menet
B501045AA-D | B501045 | B50-BA | 3 | 1 | 15 |  | BA | B50BA-M01P-00-15/B501045AA-D | need UserI | none found with no end date | None Found
B501047AA-D | B501047 | B50-BA | 3 | 2 | 15 |  | BA | B50BA-M02P-00-15/B501047AA-D | Fully Created | Updated | Updated Menet
B501057AA-D | B501057 | B50-BA | 3 | 3 | 15 |  | BA | B50BA-M03P-00-15/B501057AA-D | Fully Created | none found with no end date | None Found
B501062AA-D | B501062 | B50-BA | 4 | 4 | 15 |  | BA | B50BA-M04P-00-15/B501062AA-D | Fully Created | Updated | Updated Menet
B501064AD-D | B501064 | B50-BA | 4 | 5 | 15 |  | BA | B50BA-M05P-00-15/B501064AD-D | need UserI | none found with no end date | None Found
B501064AE-D | B501064 | B50-BA | 4 | 1 | 16 |  | BA | B50BA-M01P-00-16/B501064AE-D | need UserI | none found with no end date | None Found
B501064AB-D | B501064 | B50-BA | 4 | 2 | 16 |  | BA | B50BA-M02P-00-16/B501064AB-D | Fully Created | Updated | Updated Menet
B501064AC-D | B501064 | B50-BA | 4 | 3 | 16 |  | BA | B50BA-M03P-00-16/B501064AC-D | need UserI | none found with no end date | None Found
B501064AA-D | B501064 | B50-BA | 4 | 4 | 16 |  | BA | B50BA-M04P-00-16/B501064AA-D | Fully Created | Updated | Updated Menet
B501076AA-D | B501076 | B50-BA | 4 | 5 | 16 |  | BA | B50BA-M05P-00-16/B501076AA-D | Fully Created | Updated | Updated Menet
B501076AB-D | B501076 | B50-BA | 4 | 1 | 17 |  | BA | B50BA-M01P-00-17/B501076AB-D | Fully Created | Updated | Updated Menet
B501076AC-D | B501076 | B50-BA | 4 | 2 | 17 |  | BA | B50BA-M02P-00-17/B501076AC-D | Fully Created | Updated | Updated Menet
B501076AD-D | B501076 | B50-BA | 4 | 3 | 17 |  | BA | B50BA-M03P-00-17/B501076AD-D | Fully Created | Updated | Updated Menet
B501076AE-D | B501076 | B50-BA | 4 | 4 | 17 |  | BA | B50BA-M04P-00-17/B501076AE-D | Fully Created | Updated | Updated Menet
B501076AF-D | B501076 | B50-BA | 4 | 5 | 17 |  | BA | B50BA-M05P-00-17/B501076AF-D | need UserI | none found with no end date | None Found
B501077AA-D | B501077 | B50-BA | 4 | 1 | 18 |  | BA | B50BA-M01P-00-18/B501077AA-D | need UserI | none found with no end date | None Found
B501077AB-D | B501077 | B50-BA | 4 | 2 | 18 |  | BA | B50BA-M02P-00-18/B501077AB-D | need UserI | none found with no end date | None Found
B501081AC-D | B501081 | B50-BA | 4 | 3 | 18 |  | BA | B50BA-M03P-00-18/B501081AC-D | Fully Created | Updated | Updated Menet
B501081AD-D | B501081 | B50-BA | 4 | 4 | 18 |  | BA | B50BA-M04P-00-18/B501081AD-D | need UserI | none found with no end date | None Found
B501081AA-D | B501081 | B50-BA | 4 | 5 | 18 |  | BA | B50BA-M05P-00-18/B501081AA-D | need UserI | none found with no end date | None Found
B501081AB-D | B501081 | B50-BA | 4 | 1 | 19 |  | BA | B50BA-M01P-00-19/B501081AB-D | need UserI | none found with no end date | None Found
B501084AA-D | B501084 | B50-BA | 4 | 2 | 19 |  | BA | B50BA-M02P-00-19/B501084AA-D | Fully Created | Updated | Updated Menet
B501085AA-D | B501085 | B50-BA | 4 | 3 | 19 |  | BA | B50BA-M03P-00-19/B501085AA-D | need UserI | none found with no end date | None Found
B501085AB-D | B501085 | B50-BA | 4 | 4 | 19 |  | BA | B50BA-M04P-00-19/B501085AB-D | Fully Created | Updated | Updated Menet
B501086AA-D | B501086 | B50-BA | 4 | 5 | 19 |  | BA | B50BA-M05P-00-19/B501086AA-D | need UserI | none found with no end date | None Found
B501086AB-D | B501086 | B50-BA | 4 | 1 | 20 |  | BA | B50BA-M01P-00-20/B501086AB-D | need UserI | none found with no end date | None Found
B501086AC-D | B501086 | B50-BA | 5 | 2 | 20 |  | BA | B50BA-M02P-00-20/B501086AC-D | need UserI | none found with no end date | None Found
B501086AD-D | B501086 | B50-BA | 5 | 3 | 20 |  | BA | B50BA-M03P-00-20/B501086AD-D | Fully Created | Updated | Updated Menet
B501093AA-D | B501093 | B50-BA | 5 | 4 | 20 |  | BA | B50BA-M04P-00-20/B501093AA-D | Fully Created | Updated | Updated Menet
B501095AA-D | B501095 | B50-BA | 5 | 5 | 20 |  | BA | B50BA-M05P-00-20/B501095AA-D | Fully Created | Updated | Updated Menet
B502010BAA-D | B502010B | B50-BA | 5 | 1 | 21 |  | BA | B50BA-M01P-00-21/B502010BAA-D | need UserI | Manual update needed | None Found
B502010BAB-D | B502010B | B50-BA | 5 | 2 | 21 |  | BA | B50BA-M02P-00-21/B502010BAB-D | Fully Created | Updated | Updated Menet
B502010BAC-D | B502010B | B50-BA | 5 | 3 | 21 |  | BA | B50BA-M03P-00-21/B502010BAC-D | need UserI | none found with no end date | None Found
B502010BAD-D | B502010B | B50-BA | 5 | 4 | 21 |  | BA | B50BA-M04P-00-21/B502010BAD-D | Fully Created | none found with no end date | None Found
B502010BAAA-D | B502010BA | B50-BA | 5 | 5 | 21 |  | BA | B50BA-M05P-00-21/B502010BAAA-D | need UserI | none found with no end date | None Found
B502010BAAB-D | B502010BA | B50-BA | 5 | 1 | 22 |  | BA | B50BA-M01P-00-22/B502010BAAB-D | need UserI | none found with no end date | None Found
B502010BAAC-D | B502010BA | B50-BA | 5 | 2 | 22 |  | BA | B50BA-M02P-00-22/B502010BAAC-D | Fully Created | Updated | Updated Menet
B502010BAAD-D | B502010BA | B50-BA | 5 | 3 | 22 |  | BA | B50BA-M03P-00-22/B502010BAAD-D | need UserI | none found with no end date | None Found
B502010BAAE-D | B502010BA | B50-BA | 5 | 4 | 22 |  | BA | B50BA-M04P-00-22/B502010BAAE-D | need UserI | none found with no end date | None Found
B502010CAA-D | B502010C | B50-BA | 5 | 5 | 22 |  | BA | B50BA-M05P-00-22/B502010CAA-D | Fully Created | Updated | Updated Menet
B502010DAA-D | B502010D | B50-BA | 5 | 1 | 23 |  | BA | B50BA-M01P-00-23/B502010DAA-D | Fully Created | Updated | Updated Menet
B502010EAAA-D | B502010EA | B50-BA | 5 | 2 | 23 |  | BA | B50BA-M02P-00-23/B502010EAAA-D | Fully Created | Updated | Updated Menet
B502010EBAA-D | B502010EB | B50-BA | 5 | 3 | 23 |  | BA | B50BA-M03P-00-23/B502010EBAA-D | Fully Created | Updated | Updated Menet
B502010FAA-D | B502010F | B50-BA | 5 | 4 | 23 |  | BA | B50BA-M04P-00-23/B502010FAA-D | Fully Created | Updated | Updated Menet
B502010GAA-D | B502010G | B50-BA | 5 | 5 | 23 |  | BA | B50BA-M05P-00-23/B502010GAA-D | need UserI | none found with no end date | None Found
B502010HAA-D | B502010H | B50-BA | 5 | 1 | 24 |  | BA | B50BA-M01P-00-24/B502010HAA-D | need UserI | none found with no end date | None Found
B502010JAA-D | B502010J | B50-BA | 5 | 2 | 24 |  | BA | B50BA-M02P-00-24/B502010JAA-D | Fully Created | Updated | Updated Menet
B502010JAB-D | B502010J | B50-BA | 5 | 3 | 24 |  | BA | B50BA-M03P-00-24/B502010JAB-D | Fully Created | Updated | Updated Menet
B502030AA-D | B502030 | B50-BA | 5 | 4 | 24 |  | BA | B50BA-M04P-00-24/B502030AA-D | need UserI | Manual update needed | None Found
B502030AB-D | B502030 | B50-BA | 5 | 5 | 24 |  | BA | B50BA-M05P-00-24/B502030AB-D | Fully Created | Updated | Updated Menet
B502030AD-D | B502030 | B50-BA | 6 | 1 | 25 |  | BA | B50BA-M01P-00-25/B502030AD-D | Fully Created | Updated | Updated Menet
B502030AF-D | B502030 | B50-BA | 6 | 2 | 25 | VLAN 57 | BA | B50BA-M02P-00-25/B502030AF-D | Fully Created | Updated | Updated Menet
B502030AAA-D | B502030A | B50-BA | 6 | 3 | 25 |  | BA | B50BA-M03P-00-25/B502030AAA-D | need UserI | none found with no end date | None Found
B502030AE-D | B502030 | B50-BA | 6 | 4 | 25 | VLAN 57 | BA | B50BA-M04P-00-25/B502030AE-D | Fully Created | Updated | Updated Menet
B502062AA-D | B502062 | B50-BA | 6 | 5 | 25 | VLAN 57 | BA | B50BA-M05P-00-25/B502062AA-D | Fully Created | Do not update | None Found
B502062AB-D | B502062 | B50-BA | 6 | 1 | 26 | VLAN 57 | BA | B50BA-M01P-00-26/B502062AB-D | Fully Created | Updated | Updated Menet
B502064AA-D | B502064 | B50-BA | 6 | 2 | 26 | VLAN 57 | BA | B50BA-M02P-00-26/B502064AA-D | Fully Created | Updated | Updated Menet
B502064AB-D | B502064 | B50-BA | 6 | 3 | 26 |  | BA | B50BA-M03P-00-26/B502064AB-D | Fully Created | Updated | Updated Menet
B502071AA-D | B502071 | B50-BA | 6 | 4 | 26 |  | BA | B50BA-M04P-00-26/B502071AA-D | Fully Created | Updated | Updated Menet
B502072AA-D | B502072 | B50-BA | 6 | 5 | 26 |  | BA | B50BA-M05P-00-26/B502072AA-D | Fully Created | Updated | Updated Menet
B502073AA-D | B502073 | B50-BA | 6 | 1 | 27 |  | BA | B50BA-M01P-00-27/B502073AA-D | Fully Created | Updated | Updated Menet
B502080AA-D | B502080 | B50-BA | 6 | 2 | 27 |  | BA | B50BA-M02P-00-27/B502080AA-D | Fully Created | Updated | Updated Menet
B502080AI-D | B502080 | B50-BA | 6 | 3 | 27 |  | BA | B50BA-M03P-00-27/B502080AI-D | Fully Created | Do not update | None Found
B502080AB-D | B502080 | B50-BA | 6 | 4 | 27 |  | BA | B50BA-M04P-00-27/B502080AB-D | need UserI | Manual update needed | None Found
B502080AC-D | B502080 | B50-BA | 6 | 5 | 27 |  | BA | B50BA-M05P-00-27/B502080AC-D | need UserI | none found with no end date | None Found
B502080AD-D | B502080 | B50-BA | 6 | 1 | 28 |  | BA | B50BA-M01P-00-28/B502080AD-D | need UserI | Manual update needed | None Found
B502080AE-D | B502080 | B50-BA | 6 | 2 | 28 |  | BA | B50BA-M02P-00-28/B502080AE-D | Fully Created | Do not update | None Found
B502080AG-D | B502080 | B50-BA | 6 | 3 | 28 |  | BA | B50BA-M03P-00-28/B502080AG-D | Fully Created | Do not update | None Found
B502080AF-D | B502080 | B50-BA | 6 | 4 | 28 |  | BA | B50BA-M04P-00-28/B502080AF-D | need UserI | none found with no end date | None Found
B502080AH-D | B502080 | B50-BA | 6 | 5 | 28 |  | BA | B50BA-M05P-00-28/B502080AH-D | need UserI | none found with no end date | None Found
B502080AAB-D | B502080A | B50-BA | 6 | 1 | 29 |  | BA | B50BA-M01P-00-29/B502080AAB-D | Fully Created | Updated | Updated Menet
B503010BAA-D | B503010B | B50-BA | 6 | 2 | 29 |  | BA | B50BA-M02P-00-29/B503010BAA-D | Fully Created | Updated | Updated Menet
B502080BAA-D | B502080B | B50-BA | 7 | 3 | 29 |  | BA | B50BA-M03P-00-29/B502080BAA-D | Fully Created | More than one field returned | None Found
B502080DAA-D | B502080D | B50-BA | 7 | 4 | 29 |  | BA | B50BA-M04P-00-29/B502080DAA-D | Fully Created | Do not update | None Found
B502080FAA-D | B502080F | B50-BA | 7 | 5 | 29 |  | BA | B50BA-M05P-00-29/B502080FAA-D | need UserI | none found with no end date | None Found
B502080FAB-D | B502080F | B50-BA | 7 | 1 | 30 |  | BA | B50BA-M01P-00-30/B502080FAB-D | Fully Created | Do not update | None Found
B503010LAA-D | B503010L | B50-BA | 7 | 2 | 30 | VLAN 57 | BA | B50BA-M02P-00-30/B503010LAA-D | Fully Created | Updated | Updated Menet
B503010AAA-D | B503010A | B50-BA | 7 | 3 | 30 | VLAN 57 | BA | B50BA-M03P-00-30/B503010AAA-D | Fully Created | Updated | Updated Menet
B503010CAA-D | B503010C | B50-BA | 7 | 4 | 30 |  | BA | B50BA-M04P-00-30/B503010CAA-D | Fully Created | Updated | Updated Menet
B502080GBAA-D | B502080GB | B50-BA | 7 | 5 | 30 |  | BA | B50BA-M05P-00-30/B502080GBAA-D | Fully Created | Do not update | None Found
B502080HAA-D | B502080H | B50-BA | 7 | 1 | 31 |  | BA | B50BA-M01P-00-31/B502080HAA-D | Fully Created | Updated | Updated Menet
B502080GAAA-D | B502080GA | B50-BA | 7 | 2 | 31 |  | BA | B50BA-M02P-00-31/B502080GAAA-D | Fully Created | Updated | Updated Menet
B503010DAA-D | B503010D | B50-BA | 7 | 3 | 31 | VLAN 57 | BA | B50BA-M03P-00-31/B503010DAA-D | Fully Created | Updated | Updated Menet
B503010EAA-D | B503010E | B50-BA | 7 | 4 | 31 | VLAN 57 | BA | B50BA-M04P-00-31/B503010EAA-D | Fully Created | Updated | Updated Menet
B503010FAAA-D | B503010FA | B50-BA | 7 | 5 | 31 | VLAN 57 | BA | B50BA-M05P-00-31/B503010FAAA-D | Fully Created | Updated | Updated Menet
B503010FBAA-D | B503010FB | B50-BA | 7 | 1 | 32 | VLAN 57 | BA | B50BA-M01P-00-32/B503010FBAA-D | Fully Created | Updated | Updated Menet
B503010FCAA-D | B503010FC | B50-BA | 7 | 2 | 32 | VLAN 57 | BA | B50BA-M02P-00-32/B503010FCAA-D | Fully Created | Updated | Updated Menet
B503010FCAB-D | B503010FC | B50-BA | 7 | 3 | 32 |  | BA | B50BA-M03P-00-32/B503010FCAB-D | need UserI | none found with no end date | None Found
B503010HAA-D | B503010H | B50-BA | 7 | 4 | 32 |  | BA | B50BA-M04P-00-32/B503010HAA-D | Fully Created | Updated | Updated Menet
B503010JAA-D | B503010J | B50-BA | 7 | 5 | 32 | VLAN 57 | BA | B50BA-M05P-00-32/B503010JAA-D | Fully Created | Updated | Updated Menet
B503010KAA-D | B503010K | B50-BA | 7 | 1 | 33 | VLAN 57 | BA | B50BA-M01P-00-33/B503010KAA-D | Fully Created | Updated | Updated Menet
B503026AA-D | B503026 | B50-BA | 7 | 2 | 33 | VLAN 57 | BA | B50BA-M02P-00-33/B503026AA-D | Fully Created | Updated | Updated Menet
B503010MAA-D | B503010M | B50-BA | 7 | 3 | 33 | VLAN 57 | BA | B50BA-M03P-00-33/B503010MAA-D | Fully Created | Updated | Updated Menet
B503032AA-D | B503032 | B50-BA | 7 | 4 | 33 | VLAN 57 | BA | B50BA-M04P-00-33/B503032AA-D | Fully Created | Updated | Updated Menet
B503034AA-D | B503034 | B50-BA | 8 | 5 | 33 | VLAN 57 | BA | B50BA-M05P-00-33/B503034AA-D | Fully Created | Updated | Updated Menet
B503034AAA-D | B503034A | B50-BA | 8 | 1 | 34 | VLAN 57 | BA | B50BA-M01P-00-34/B503034AAA-D | Fully Created | Updated | Updated Menet
B503036AA-D | B503036 | B50-BA | 8 | 2 | 34 | VLAN 57 | BA | B50BA-M02P-00-34/B503036AA-D | Fully Created | Updated | Updated Menet
B503038AA-D | B503038 | B50-BA | 8 | 3 | 34 | VLAN 57 | BA | B50BA-M03P-00-34/B503038AA-D | Fully Created | Updated | Updated Menet
B503043AA-D | B503043 | B50-BA | 8 | 4 | 34 |  | BA | B50BA-M04P-00-34/B503043AA-D | need UserI | none found with no end date | None Found
B503074AC-D | B503074 | B50-BA | 8 | 5 | 34 |  | BA | B50BA-M05P-00-34/B503074AC-D | Fully Created | Updated | Updated Menet
B503073AA-D | B503073 | B50-BA | 8 | 1 | 35 |  | BA | B50BA-M01P-00-35/B503073AA-D | Manual Check needed | Updated | Updated Menet
B503062AA-D | B503062 | B50-BA | 8 | 2 | 35 | VLAN 57 | BA | B50BA-M02P-00-35/B503062AA-D | Fully Created | Updated | Updated Menet
B503080FDAA-D | B503080FD | B50-BA | 8 | 3 | 35 |  | BA | B50BA-M03P-00-35/B503080FDAA-D | need UserI | none found with no end date | None Found
B503080FDAB-D | B503080FD | B50-BA | 8 | 4 | 35 |  | BA | B50BA-M04P-00-35/B503080FDAB-D | Fully Created | Updated | Updated Menet
B503079AA-D | B503079 | B50-BA | 8 | 5 | 35 | VLAN 57 | BA | B50BA-M05P-00-35/B503079AA-D | Fully Created | Updated | Updated Menet
B503080CAA-D | B503080C | B50-BA | 8 | 1 | 36 | VLAN 57 | BA | B50BA-M01P-00-36/B503080CAA-D | Fully Created | Updated | Updated Menet
B503080AAA-D | B503080A | B50-BA | 8 | 2 | 36 | VLAN 57 | BA | B50BA-M02P-00-36/B503080AAA-D | Fully Created | Updated | Updated Menet
B503080EBAA-D | B503080EB | B50-BA | 8 | 3 | 36 | VLAN 57 | BA | B50BA-M03P-00-36/B503080EBAA-D | Fully Created | Updated | Updated Menet
B503080FCAA-D | B503080FC | B50-BA | 8 | 4 | 36 | VLAN 57 | BA | B50BA-M04P-00-36/B503080FCAA-D | need UserI | none found with no end date | None Found
B502080AAA-D | B502080A | B50-BA | 8 | 5 | 36 |  | BA | B50BA-M05P-00-36/B502080AAA-D | Fully Created | Updated | Updated Menet
B503080EAAA-D | B503080EA | B50-BA | 8 | 1 | 37 | VLAN 57 | BA | B50BA-X01P-00-37/B503080EAAA-D | Fully Created | Updated | Updated Xenet
B503074AB-D | B503074 | B50-BA | 8 | 2 | 37 | VLAN 57 | BA | B50BA-X02P-00-37/B503074AB-D | Fully Created | Updated | Updated Xenet
B503074AA-D | B503074 | B50-BA | 8 | 3 | 37 | VLAN 57 | BA | B50BA-X03P-00-37/B503074AA-D | need UserI | none found with no end date | None Found
B501045AB-D | B501045 | B50-BA | 8 | 4 | 37 |  | BA | B50BA-X04P-00-37/B501045AB-D | Fully Created | Updated | Updated Xenet
B5001B1AA-D | B5001B1 | B50-BA | 9 | 5 | 37 |  | BA | B50BA-X05P-00-37/B5001B1AA-D | Nothing created | none found with no end date | None Found
B502072AB-D | B502072 | B50-BA | 9 | 1 | 38 |  | BA | B50BA-X01P-00-38/B502072AB-D | Fully Created | Updated | Updated Xenet
B502072AC-D | B502072 | B50-BA | 9 | 2 | 38 |  | BA | B50BA-X02P-00-38/B502072AC-D | Fully Created | Updated | Updated Xenet
B501071AA-D | B501071 | B50-BA | 9 | 3 | 38 |  | BA | B50BA-X03P-00-38/B501071AA-D | Fully Created | Updated | Updated Xenet
B503080FAAA-D | B503080FA | B50-BA | 9 | 4 | 38 |  | BA | B50BA-X04P-00-38/B503080FAAA-D | Fully Created | Updated | Updated Xenet
B503071AA-D | B503071 | B50-BA | 9 | 5 | 38 |  | BA | B50BA-X05P-00-38/B503071AA-D | Fully Created | Updated | Updated Xenet
B503074AD-D | B503074 | B50-BA | 9 | 1 | 39 | VLAN 57 | BA | B50BA-X01P-00-39/B503074AD-D | Fully Created | Updated | Updated Xenet
B502030AAB-D | B502030A | B50-BA | 9 | 2 | 39 | VLAN 57 | BA | B50BA-X02P-00-39/B502030AAB-D | Fully Created | Updated | Updated Xenet
B502010BB1-D | B502010B | B50-BA | 10 | 3 | 39 |  | BA | B50BA-X03P-00-39/B502010BB1-D | Fully Created | Updated | Updated Xenet
B502080AB1-D | B502080A | B50-BA | 10 | 4 | 39 |  | BA | B50BA-X04P-00-39/B502080AB1-D | Fully Created | Updated | Updated Xenet
B501050B1-D | B501050 | B50-BA | 10 | 5 | 39 |  | BA | B50BA-X05P-00-39/B501050B1-D | Fully Created | Updated | Updated Xenet
B501070B1-D | B501070 | B50-BA | 10 | 1 | 40 |  | BA | B50BA-X01P-00-40/B501070B1-D | Manual Check needed | Updated | Updated Xenet
B500100B1-D | B500100 | B50-BA | 10 | 2 | 40 |  | BA | B50BA-X02P-00-40/B500100B1-D | Fully Created | Updated | Updated Xenet
B500112B1-D | B500112 | B50-BA | 11 | 3 | 40 |  | BA | B50BA-X03P-00-40/B500112B1-D | Fully Created | Updated | Updated Xenet
B500113B1-D | B500113 | B50-BA | 11 | 4 | 40 |  | BA | B50BA-X04P-00-40/B500113B1-D | Fully Created | Updated | Updated Xenet
B500122B1-D | B500122 | B50-BA | 11 | 5 | 40 |  | BA | B50BA-X05P-00-40/B500122B1-D | Fully Created | Updated | Updated Xenet
B500130B1-D | B500130 | B50-BA | 11 | 1 | 41 |  | BA | B50BA-X01P-00-41/B500130B1-D | Fully Created | Updated | Updated Xenet
B500132B1-D | B500132 | B50-BA | 11 | 2 | 41 |  | BA | B50BA-X02P-00-41/B500132B1-D | Fully Created | Updated | Updated Xenet
B500183B1-D | B500183 | B50-BA | 11 | 3 | 41 |  | BA | B50BA-X03P-00-41/B500183B1-D | Fully Created | Updated | Updated Xenet
B503072B3-D | B503072 | B50-BA | 11 | 4 | 41 |  | BA | B50BA-X04P-00-41/B503072B3-D | Fully Created | Updated | Updated Xenet | WAS N0 LABEL
B501010CB1-D | B501010C | B50-BA | 11 | 5 | 41 |  | BA | B50BA-X05P-00-41/B501010CB1-D | Fully Created | Updated | Updated Xenet
B501010GB1-D | B501010G | B50-BA | 12 | 1 | 42 |  | BA | B50BA-X01P-00-42/B501010GB1-D | Fully Created | Updated | Updated Xenet
B501010JB1-D | B501010J | B50-BA | 12 | 2 | 42 |  | BA | B50BA-X02P-00-42/B501010JB1-D | Fully Created | Updated | Updated Xenet
B501034B1-D | B501034 | B50-BA | 12 | 3 | 42 |  | BA | B50BA-X03P-00-42/B501034B1-D | Fully Created | Updated | Updated Xenet
B501045B1-D | B501045 | B50-BA | 12 | 4 | 42 |  | BA | B50BA-X04P-00-42/B501045B1-D | Fully Created | Updated | Updated Xenet
B501064B1-D | B501064 | B50-BA | 12 | 5 | 42 |  | BA | B50BA-X05P-00-42/B501064B1-D | Fully Created | Updated | Updated Xenet
B501073B1-D | B501073 | B50-BA | 12 | 1 | 43 |  | BA | B50BA-X01P-00-43/B501073B1-D | Fully Created | Updated | Updated Xenet
B501076B1-D | B501076 | B50-BA | 12 | 2 | 43 |  | BA | B50BA-X02P-00-43/B501076B1-D | Fully Created | Updated | Updated Xenet
B501085B1-D | B501085 | B50-BA | 12 | 3 | 43 |  | BA | B50BA-X03P-00-43/B501085B1-D | Fully Created | Updated | Updated Xenet
B502010BAB1-D | B502010BA | B50-BA | 12 | 4 | 43 |  | BA | B50BA-X04P-00-43/B502010BAB1-D | Fully Created | Updated | Updated Xenet
B502010DB1-D | B502010D | B50-BA | 13 | 5 | 43 |  | BA | B50BA-X05P-00-43/B502010DB1-D | Fully Created | Updated | Updated Xenet
B502010EBB1-D | B502010EB | B50-BA | 13 | 1 | 44 |  | BA | B50BA-X01P-00-44/B502010EBB1-D | Fully Created | Updated | Updated Xenet
B502010JB1-D | B502010J | B50-BA | 13 | 2 | 44 |  | BA | B50BA-X02P-00-44/B502010JB1-D | Fully Created | Updated | Updated Xenet
B502030B1-D | B502030 | B50-BA | 13 | 3 | 44 |  | BA | B50BA-X03P-00-44/B502030B1-D | Fully Created | Updated | Updated Xenet
B502060B1-D | B502060 | B50-BA | 13 | 4 | 44 |  | BA | B50BA-X04P-00-44/B502060B1-D | Fully Created | Updated | Updated Xenet
B502080B1-D | B502080 | B50-BA | 13 | 5 | 44 |  | BA | B50BA-X05P-00-44/B502080B1-D | Fully Created | Updated | Updated Xenet
B502080GAB1-D | B502080GA | B50-BA | 13 | 1 | 45 |  | BA | B50BA-X01P-00-45/B502080GAB1-D | Fully Created | Updated | Updated Xenet
B502080HB1-D | B502080H | B50-BA | 13 | 2 | 45 |  | BA | B50BA-X02P-00-45/B502080HB1-D | Fully Created | Updated | Updated Xenet
B503010BB1-D | B503010B | B50-BA | 13 | 3 | 45 | VLAN 57 | BA | B50BA-X03P-00-45/B503010BB1-D | Fully Created | Updated | Updated Xenet
B503010FB1-D | B503010F | B50-BA | 14 | 4 | 45 | VLAN 57 | BA | B50BA-X04P-00-45/B503010FB1-D | Fully Created | Updated | Updated Xenet
B503010KB1-D | B503010K | B50-BA | 14 | 5 | 45 | VLAN 57 | BA | B50BA-X05P-00-45/B503010KB1-D | Fully Created | Updated | Updated Xenet
B503034B1-D | B503034 | B50-BA | 14 | 1 | 46 | VLAN 57 | BA | B50BA-X01P-00-46/B503034B1-D | Fully Created | Updated | Updated Xenet
B503040B1-D | B503040 | B50-BA | 14 | 2 | 46 | VLAN 57 | BA | B50BA-X02P-00-46/B503040B1-D | Fully Created | Updated | Updated Xenet
B503072B1-D | B503072 | B50-BA | 14 | 3 | 46 | VLAN 57 | BA | B50BA-X03P-00-46/B503072B1-D | Fully Created | Updated | Updated Xenet
B503073B1-D | B503073 | B50-BA | 14 | 4 | 46 | VLAN 57 | BA | B50BA-X04P-00-46/B503073B1-D | Fully Created | Updated | Updated Xenet
B503080AB1-D | B503080A | B50-BA | 14 | 5 | 46 | VLAN 57 | BA | B50BA-X05P-00-46/B503080AB1-D | Fully Created | Updated | Updated Xenet
B503080EBB1-D | B503080EB | B50-BA | 14 | 1 | 47 | VLAN 57 | BA | B50BA-X01P-00-47/B503080EBB1-D | Fully Created | Updated | Updated Xenet
B503080FB1-D | B503080F | B50-BA | 14 | 2 | 47 | VLAN 57 | BA | B50BA-X02P-00-47/B503080FB1-D | Fully Created | Updated | Updated Xenet
B503076B3-D | B503076 | B50-BA | 14 | 3 | 47 |  | BA | B50BA-X03P-00-47/B503076B3-D | need UserI | none found with no end date | None Found
B503080FBB1-D | B503080FB | B50-BA | 14 | 4 | 47 | VLAN 57 | BA | B50BA-X04P-00-47/B503080FBB1-D | need UserI | none found with no end date | None Found
B500122AD-VD | B500122 | B50-BA | NA | 5 | 47 |  | BA | B50BA-X05P-00-47/B500122AD-VD | need UserI | none found with no end date | None Found
B503010HAA-VD | B503010H | B50-BA | NA | 1 | 48 |  | BA | B50BA-X01P-00-48/B503010HAA-VD | Fully Created | Updated | Updated Xenet
B50BAASA5506-X PORT 8 |  |  |  | 2 | 48 | VLAN 57 | BA | B50BA-X02P-00-48/B50BAASA5506-X PORT 8 | One or more field empty | none found with no end date | None Found
B50BAASA5506-XPORT 1 |  |  |  | 3 | 48 | VLAN 56 | BA | B50BA-X03P-00-48/B50BAASA5506-XPORT 1 | One or more field empty | none found with no end date | None Found
B50BAASA5506-XPORT GE MGMT |  |  |  | 4 | 48 | VLAN 3231 | BA | B50BA-X04P-00-48/B50BAASA5506-XPORT GE MGMT | One or more field empty | none found with no end date | None Found